A close up of electronics

Description automatically generatedA close up of a logo



Description automatically generated

**Press to Exit Button**

**Features**:

* Brushed Stainless Steel
* 19mm Stainless Steel button
* Flush Mount
* Narrow Style

**Dimensions**



**Specifications**

* Max. rating 5A/125/250 Vac.
* A close up of a logo

  Description automatically generatedContact resistance: 50mΩ Max. (Initial).
* Operating travel: 2.7mm
* Operating life (Mechanical): Over 100,000 times.
* Cables included.